|  | ......................... pcs. .............................. € .............................. € GEZE cranked turn and tilt fitting F 1200 For the convenient and simple operation of large and heavy aluminium windows with tilt and turn casements. The hardware system must be fitted concealed. The tilting opening can be infinitely adjusted and has operating error protection. The crank gear must be fitted with an overload friction coupling. The hardware system can be optionally extended with horizontal / vertical locking devices in the centre according to the casement size. Casement dimensions: ........ mm width (min. 750 mm – max. 2000 mm ) ........ mm height (min. 750 mm – max. 2500 mm ) Opening width: ca. 180 mm in tilted position Casement weight: max. 200 kg, (according to the application diagram in the installation drawing) ( ) Standard crank gear ( ) Crank gear, lockable (rotary position) simultaneous locking ( ) Crank gear with detachable crank Installation position for the crank gear: ( ) vertical ( ) horizontal at the bottom Version: All visible parts such as hinges, bearings and gear cover are in aluminium, all other parts are non-corrosive or corrosion-protected, Surface: ( ) silver-coloured |
| --- | --- |
|  | ......................... pcs. .............................. € .............................. € ( ) Opening limitation, damped |
|  | ......................... pcs. .............................. € .............................. € ( ) Burglary protection F 1200 with hook locking fixture and additional lock F 1200 |
|  | ......................... pcs. .............................. € .............................. € Installation and functional test Installation and functional test by an expert authorised by the manufacturer. |
|  | ......................... pcs. .............................. € .............................. € Start-up and official approval Official approval of the complete smoke and heat extraction system by an officially recognised expert, who also hands over the acceptance certificates. |
|  | ......................... pcs. .............................. € .............................. € Service maintenance - compact package Maintenance and testing of hold-open systems (optional position) Service package for maintenance and testing according to ASR A1.7 as well as according to manufacturer’s specification with the following performance features: - One maintenance per contract year - Free provision and updating of the test documents - Attachment of the inspection sticker - Fault diagnosis and repair jobs during the contract period will be carried out at reduced hourly rates - Service technicians will be deployed within 24 hours of the message being received from Monday – Friday between 7 am and 5 pm without surcharges - Personal availability at the help desk 24 hours a day, 365 days a year - Contract run time: 2 years |
|  | ......................... pcs. .............................. € .............................. € Service maintenance - comfort package Service maintenance (optional position) Comfort service package for maintenance and accident prevention inspection in accordance with ASR A1.7 as well as according to manufacturer’s specification with the following performance features: - Extension of the warranty to 36 months (condition: the maintenance contract is concluded 3 months after the commissioning date at the latest) - One maintenance per contract year - Free provision and updating of the test documents - Attachment of the inspection sticker - No separate charging for services and travel costs during the warranty period - No separate charging for consumables up to € 25 per maintenance - No separate charging for working hours when spare parts are replaced during the maintenance - Personal availability at the help desk 24 hours a day, 365 days a year - Contract run time: 3 years |
|  | ......................... pcs. .............................. € .............................. € Delivery and installation Wiring to be carried out on site by an electrical contractor according to the GEZE cable plan. Delivery, installation and commissioning through plant fitters or service partner. Safety analysis, instruction of the operator as to how the system works and handing over of the documentation. Annual maintenance and technical inspection by an expert authorised by the manufacturer incl. documentation of the inspection in an inspection log. |